## Sheet1
Solar PV for completion 2026 with time shifting batteries
Capex utility PV $ per Kw | 2200
Capacity factor | 0.25
solar 500 MW
nameplate | 500 | megawatts or 500,000 kilowatts
Yearly production megawatts | 1095000 | =b8*b4*24*365
Cost of farm | 1100000000 | =B3*B8*1000
annual capital return 8% 20 years | 112037429.7055 | =PMT(0.08,20,-B10)
annual capital return 12% 20 years | 147266658.0436 | =PMT(0.12,20,-B10)
Annual maintenance $ per kW | 20
Annual maintenance total | 10000000
Cost per MWh at 12% | 143.6225 | =(B12+B14)/B9
Cost per MWh at 8% | 111.4497 | =(B11+B14)/B9
Capex from National Renewable Energy Laboratory 2023 Annual Technology Baseline spreadsheet. Completion 2026. Utility PV solar array class 6 moderate $1206. Battery 2 hour conservative $1054. Total 1206+1054 truncate to $2200.
Capacity factor same
These numbers are not exact. Depends on sunshine, technology, assumptions.